## Master
Electro Pricing - 2024
List Price
Part ID | Desc | 2024
3629 | CT 1:1000 1IN ID 200A AMP METER APPL | 52
5701 | SINGLE FEED BUS SQD 2 CB | 135
5702 | SINGLE FEED BUS SQD 3 CB | 145
8034 | CT CURRENT SENSING SW N.O. ADJ 1-135A | 280
EB-C-STG5 | RELAY 5TH STAGE TO NEXT EB-S | 135
EB-CX-18-48 | BOILER MOD 18KW 480V 3PH | 5265
EB-CX-18-60 | BOILER MOD 18KW 600V 3PH | 5080
EB-CX-24-48 | BOILER MOD 24KW 480V 3PH | 5725
EB-CX-24-60 | BOILER MOD 24KW 600V 3PH | 5620
EB-CX-27-20 | BOILER MOD 27KW 208V 3PH | 5725
EB-CX-27-24 | BOILER MOD 27KW 240V 3PH | 5850
EB-CX-30-48 | BOILER MOD 30KW 480V 3PH | 6185
EB-CX-30-60 | BOILER MOD 30KW 600V 3PH | 6155
EB-CX-31 | BOILER MOD 31.5KW 240/208V 1PH | 5250
EB-CX-31-20 | BOILER MOD 31.5KW 208V 3PH | 6480
EB-CX-31-24 | BOILER MOD 31.5KW 240V 3PH | 6605
EB-CX-36 | BOILER MOD 36KW 240/208V 1PH | 5645
EB-CX-36-20 | BOILER MOD 36KW 208V 3PH | 7235
EB-CX-36-24 | BOILER MOD 36KW 240V 3PH | 7360
EB-CX-36-48 | BOILER MOD 36KW 480V 3PH | 6645
EB-CX-36-60 | BOILER MOD 36KW 600V 3PH | 6690
EB-CX-40 | BOILER MOD 40KW 240/208V 1PH | 6040
EB-CX-40-20 | BOILER MOD 40.5KW 208V 3PH | 7990
EB-CX-40-24 | BOILER MOD 40.5KW 240V 3PH | 8115
EB-CX-42-48 | 48BOILER MOD 42KW 480V 3PH | 7045
EB-CX-44 | BOILER MOD 44KW 240/208V 1PH | 6435
EB-CX-45-60 | BOILER MOD 45KW 600V 3PH | 7225
EB-CX-48-48 | BOILER MOD 48KW 480V 3PH | 7505
EB-CX-54-48 | BOILER MOD 54KW 480V 3PH | 7965
EB-CX-54-60 | BOILER MOD 54KW 600V 3PH | 7760
EB-HPH-3-00 | NA HP BOILER 3 TON NO BOILER | 4535
EB-HPH-3-10 | NA HP BOILER 3 TON 10KW BOILER | 5575
EB-HPH-3-15 | NA HP BOILER 3 TON 15KW BOILER | 5970
EB-HPH-3-20 | NA HP BOILER 3 TON 20KW BOILER | 6265
EB-HPH-4-00 | NA HP BOILER 4 TON NO BOILER | 4795
EB-HPH-4-10 | NA HP BOILER 4 TON 10KW BOILER | 5835
EB-HPH-4-15 | NA HP BOILER 4 TON 15KW BOILER | 6230
EB-HPH-4-20 | NA HP BOILER 4 TON 20KW BOILER | 6525
EB-HPH-5-00 | NA HP BOILER 5 TON NO BOILER | 5055
EB-HPH-5-10 | NA HP BOILER 5 TON 10KW BOILER | 6095
EB-HPH-5-15 | NA HP BOILER 5 TON 15KW BOILER | 6490
EB-HPH-5-20 | NA HP BOILER 5 TON 20KW BOILER | 6785
EB-HPH-V-00 | NA HP BOILER NO BOILER NO TXV | 4795
EB-HPH-V-10 | NA HP BOILER 10KW BOILER NO TXV | 5835
EB-HPH-V-15 | NA HP BOILER 15KW BOILER NO TXV | 6230
EB-HPH-V-20 | NA HP BOILER 20KW BOILER NO TXV | 6525
EB-MS-10 | BOILER STG 10KW 240/208V 1PH | 2375
EB-MS-12 | BOILER STG 11.5KW 240/208V 1PH | 2565
EB-MS-15 | BOILER STG 15KW 240/208V 1PH | 2690
EB-MS-17 | BOILER STG 17.5KW 240/208V 1PH | 2855
EB-MS-20 | BOILER STG 20KW 240/208V 1PH | 2960
EB-MX-10 | BOILER MOD 10KW 240/208V 1PH | 2745
EB-MX-12 | BOILER MOD 11.5KW 240/208V 1PH | 2935
EB-MX-15 | BOILER MOD 15KW 240/208V 1PH | 3060
EB-MX-17 | BOILER MOD 17.5KW 240/208V 1PH | 3225
EB-MX-20 | BOILER MOD 20KW 240/208V 1PH | 3330
EB-NB-105-208 | BOILER IND 105kW 208V 3 PH | 28445
EB-NB-105-208H | BOILER IND 105kW 208V 3 PH 125 PSI | 29320
EB-NB-105-240 | BOILER IND 105kW 240V 3 PH | 28445
EB-NB-105-240H | BOILER IND 105kW 240V 3 PH 125 PSI | 29320
EB-NB-108-480 | BOILER IND 108kW 480V 3 PH | 28305
EB-NB-108-480H | BOILER IND 108kW 480V 3 PH 125 PSI | 29180
EB-NB-108-600-CA | BOILER IND 108kW 600V 3 PH | 28305
EB-NB-108-600H-CA | BOILER IND 108kW 600V 3 PH 125 PSI | 29180
EB-NB-120-208 | BOILER IND 120kW 208V 3 PH | 29925
EB-NB-120-208H | BOILER IND 120kW 208V 3 PH 125 PSI | 30800
EB-NB-120-240 | BOILER IND 120kW 240V 3 PH | 29925
EB-NB-120-240H | BOILER IND 120kW 240V 3 PH 125 PSI | 30800
EB-NB-120-480 | BOILER IND 120kW 480V 3 PH | 29245
EB-NB-120-480H | BOILER IND 120kW 480V 3 PH 125 PSI | 30120
EB-NB-120-600-CA | BOILER IND 120kW 600V 3 PH | 29245
EB-NB-120-600H-CA | BOILER IND 120kW 600V 3 PH 125 PSI | 30120
EB-NB-132-480 | BOILER IND 132kW 480V 3 PH | 30185
EB-NB-132-480H | BOILER IND 132kW 480V 3 PH 125 PSI | 31060
EB-NB-132-600-CA | BOILER IND 132kW 600V 3 PH | 30185
EB-NB-132-600H-CA | BOILER IND 132kW 600V 3 PH 125 PSI | 31060
EB-NB-135-208 | BOILER IND 135kW 208V 3 PH | 31405
EB-NB-135-208H | BOILER IND 135kW 208V 3 PH 125 PSI | 32280
EB-NB-135-240 | BOILER IND 135kW 240V 3 PH | 31405
EB-NB-135-240H | BOILER IND 135kW 240V 3 PH 125 PSI | 32280
EB-NB-144-480 | BOILER IND 144kW 480V 3 PH | 31125
EB-NB-144-480H | BOILER IND 144kW 480V 3 PH 125 PSI | 32000
EB-NB-144-600-CA | BOILER IND 144kW 600V 3 PH | 31125
EB-NB-144-600H-CA | BOILER IND 144kW 600V 3 PH 125 PSI | 32000
EB-NB-150-208 | BOILER IND 150kW 208V 3 PH | 32885
EB-NB-150-208H | BOILER IND 150kW 208V 3 PH 125 PSI | 33760
EB-NB-150-240 | BOILER IND 150kW 240V 3 PH | 32885
EB-NB-150-240H | BOILER IND 150kW 240V 3 PH 125 PSI | 33760
EB-NB-160-480 | BOILER IND 160kW 480V 3 PH | 32065
EB-NB-160-480H | BOILER IND 160kW 480V 3 PH 125 PSI | 32940
EB-NB-160-600-CA | BOILER IND 160kW 600V 3 PH | 32065
EB-NB-160-600H-CA | BOILER IND 160kW 600V 3 PH 125 PSI | 32940
EB-NB-165-208 | BOILER IND 165kW 208V 3 PH | 34365
EB-NB-165-208H | BOILER IND 165kW 208V 3 PH 125 PSI | 35240
EB-NB-165-240 | BOILER IND 165kW 240V 3 PH | 34365
EB-NB-165-240H | BOILER IND 165kW 240V 3 PH 125 PSI | 35240
EB-NB-180-208 | BOILER IND 180kW 208V 3 PH | 35845
EB-NB-180-208H | BOILER IND 180kW 208V 3 PH 125 PSI | 36720
EB-NB-180-240 | BOILER IND 180kW 240V 3 PH | 35845
EB-NB-180-240H | BOILER IND 180kW 240V 3 PH 125 PSI | 36720
EB-NB-180-480 | BOILER IND 180kW 480V 3 PH | 33005
EB-NB-180-480H | BOILER IND 180kW 480V 3 PH 125 PSI | 33880
EB-NB-180-600-CA | BOILER IND 180kW 600V 3 PH | 33005
EB-NB-180-600H-CA | BOILER IND 180kW 600V 3 PH 125 PSI | 33880
EB-NB-200-480 | BOILER IND 200kW 480V 3 PH | 33945
EB-NB-200-480H | BOILER IND 200kW 480V 3 PH 125 PSI | 34820
EB-NB-200-600-CA | BOILER IND 200kW 600V 3 PH | 33945
EB-NB-200-600H-CA | BOILER IND 200kW 600V 3 PH 125 PSI | 34820
EB-NB-220-480 | BOILER IND 220kW 480V 3 PH | 34885
EB-NB-220-480H | BOILER IND 220kW 480V 3 PH 125 PSI | 35760
EB-NB-220-600-CA | BOILER IND 220kW 600V 3 PH | 34885
EB-NB-220-600H-CA | BOILER IND 220kW 600V 3 PH 125 PSI | 35760
EB-NB-240-480 | BOILER IND 240kW 480V 3 PH | 35825
EB-NB-240-480H | BOILER IND 240kW 480V 3 PH 125 PSI | 36700
EB-NB-240-600-CA | BOILER IND 240kW 600V 3 PH | 35825
EB-NB-240-600H-CA | BOILER IND 240kW 600V 3 PH 125 PSI | 36700
EB-NB-260-480 | BOILER IND 260kW 480V 3 PH | 36765
EB-NB-260-480H | BOILER IND 260kW 480V 3 PH 125 PSI | 37640
EB-NB-260-600-CA | BOILER IND 260kW 600V 3 PH | 36765
EB-NB-260-600H-CA | BOILER IND 260kW 600V 3 PH 125 PSI | 37640
EB-NB-280-480 | BOILER IND 280kW 480V 3 PH | 37705
EB-NB-280-480H | BOILER IND 280kW 480V 3 PH 125 PSI | 38580
EB-NB-280-600-CA | BOILER IND 280kW 600V 3 PH | 37705
EB-NB-280-600H-CA | BOILER IND 280kW 600V 3 PH 125 PSI | 38580
EB-NB-300-480 | BOILER IND 300kW 480V 3 PH | 38645
EB-NB-300-480H | BOILER IND 300kW 480V 3 PH 125 PSI | 39520
EB-NB-300-600-CA | BOILER IND 300kW 600V 3 PH | 38645
EB-NB-300-600H-CA | BOILER IND 300kW 600V 3 PH 125 PSI | 39520
EB-NB-60-208 | BOILER IND 60kW 208V 3 PH | 24005
EB-NB-60-208H | BOILER IND 60kW 208V 3 PH 125 PSI | 24880
EB-NB-60-240 | BOILER IND 60kW 240V 3 PH | 24005
EB-NB-60-240H | BOILER IND 60kW 240V 3 PH 125 PSI | 24880
EB-NB-60-480 | BOILER IND 60kW 480V 3 PH | 24545
EB-NB-60-480H | BOILER IND 60kW 480V 3 PH 125 PSI | 25420
EB-NB-60-600-CA | BOILER IND 60kW 600V 3 PH | 24545
EB-NB-60-600H-CA | BOILER IND 60kW 600V 3 PH 125 PSI | 25420
EB-NB-72-480 | BOILER IND 72kW 480V 3 PH | 25485
EB-NB-72-480H | BOILER IND 72kW 480V 3 PH 125 PSI | 26360
EB-NB-72-600-CA | BOILER IND 72kW 600V 3 PH | 25485
EB-NB-72-600H-CA | BOILER IND 72kW 600V 3 PH 125 PSI | 26360
EB-NB-75-208 | BOILER IND 75kW 208V 3 PH | 25485
EB-NB-75-208H | BOILER IND 75kW 208V 3 PH 125 PSI | 26360
EB-NB-75-240 | BOILER IND 75kW 240V 3 PH | 25485
EB-NB-75-240H | BOILER IND 75kW 240V 3 PH 125 PSI | 26360
EB-NB-84-480 | BOILER IND 84kW 480V 3 PH | 26425
EB-NB-84-480H | BOILER IND 84kW 480V 3 PH 125 PSI | 27300
EB-NB-84-600-CA | BOILER IND 84kW 600V 3 PH | 26425
EB-NB-84-600H-CA | BOILER IND 84kW 600V 3 PH 125 PSI | 27300
EB-NB-90-208 | BOILER IND 90kW 208V 3 PH | 26965
EB-NB-90-208H | BOILER IND 90kW 208V 3 PH 125 PSI | 27840
EB-NB-90-240 | BOILER IND 90kW 240V 3 PH | 26965
EB-NB-90-240H | BOILER IND 90kW 240V 3 PH 125 PSI | 27840
EB-NB-96-480 | BOILER IND 96kW 480V 3 PH | 27365
EB-NB-96-480H | BOILER IND 96kW 480V 3 PH 125 PSI | 28240
EB-NB-96-600-CA | BOILER IND 96kW 600V 3 PH | 27365
EB-NB-96-600H-CA | BOILER IND 96kW 600V 3 PH 125 PSI | 28240
EB-N-BAC | KIT IND BOILER BACNET CONTROL | 1795
EB-N-LON | KIT IND BOILER LONWORKS CONTROL | 1795
EB-S-23 | BOILER STG 22.5KW 240/208V 1PH | 3670
EB-S-27 | BOILER STG 27KW 240/208V 1PH | 3965
EB-S-SB | BOILER DUAL HEAT PLUG-IN OPTION EB-S/WO | 170
EB-WX-13-2 | BOILER MOD 13.5KW 208V 3PH | 3845
EB-WX-23 | BOILER MOD 22.5KW 240/208V 1PH | 4175
EB-WX-27 | BOILER MOD 27KW 240/208V 1PH | 4470
EB-WX-27-2 | BOILER MOD 27KW 208V 3PH | 4665
EB-ZEA-1 | ZONE CNTR 4 UNIV W/ENCL & TRAN | 475
EB-ZEA-2 | ZONE CNTR UNIV ADD 4 W/ENCL & TRAN | 470
EB-ZEA8 | ZONE CNTR 8 UNIV W/ENCL & TRAN | 735
EB-ZES-1 | ZONE CNTR 4 VALVES W/ENCL & TRANS | 465
EB-ZES8 | ZONE CNTR 8 VALVES W/ENCL 24V CLASS 2 | 675
EB-ZTA-1 | ZONE CNTR UNIV EB-T SERIES BD ONLY | 360
EB-ZTS-1 | ZONE CNTR 4 VALVES KIY BD ONLY | 395
EB-ZTS-2 | ZONE CNTR ADD 4 TS SERIES W/40VA | 415
EE-5051 | RELAY BOX 24 AC/DC 2PDT 10A | 130
EE-5053 | RELAY 24 AC/DC 1PDT 2A WIRES | 65
EM-5750 | DEFLECTOR KIT A 18"-20.5" V | 35
EM-5751 | DEFLECTOR KIT B 21"-22.5" V | 40
EMB-M2-01-120-1 | BOILER MINI MOD 2 ZONE 1.1KW 120V 1PH | 1965
EMB-M2-03-120-1 | BOILER MINI MOD 2 ZONE 2.5KW 120V 1PH | 2005
EMB-M2-05-240-1 | BOILER MINI MOD 2 ZONE 5KW 240/208V 1PH | 2045
EMB-M2-07-240-1 | BOILER MINI MOD 2 ZONE 7KW 240/208V 1PH | 2085
EMB-M2-09-240-1 | BOILER MINI MOD 2 ZONE 9KW 240/208V 1PH | 2125
EMB-M2-12-240-1 | BOILER MINI MOD 2 ZONE 12KW 240/208V 1PH | 2425
EMB-M2-15-240-1 | BOILER MINI MOD 2 ZONE 15KW 240/208V 1PH | 2530
EMB-M2-18-240-1 | BOILER MINI MOD 2 ZONE 18KW 240/208V 1PH | 2635
EMB-R1-01-120-1 | BOILER MINI STG 1 ZONE 1.1KW 120V 1PH | 1645
EMB-R1-03-120-1 | BOILER MINI STG 1 ZONE 2.5KW 120V 1PH | 1685
EMB-R1-05-240-1 | BOILER MINI STG 1 ZONE 5KW 240/208V 1PH | 1725
EMB-R1-07-240-1 | BOILER MINI STG 1 ZONE 7KW 240/208V 1PH | 1765
EMB-R1-09-240-1 | BOILER MINI STG 1 ZONE 9KW 240/208V 1PH | 1805
EM-DI1025C | STRIP HTR PLENUM 9.6KW 16X16X15H | 920
EM-DI1025H | STRIP HTR 9.6KW 8X10 | 710
EM-DI1025L | STRIP HTR 9.6KW 8X16 | 720
EM-DI1535C | STRIP HTR PLENUM 14.4KW 16X16X15H | 1130
EM-DI1535H | STRIP HTR 14.4KW 8X10 | 920
EM-DI1535L | STRIP HTR 14.4KW 8X16 | 930
EM-DI2035C | STRIP HTR PLENUM 19.2KW 16X16X15H | 1340
EM-DI2035H | STRIP HTR 19.2KW 8X10 | 1130
EM-DI2035L | STRIP HTR 19.2KW 8X16 | 1140
EM-ED102C5 | PLEN HTR HCII EH-D10-5 10KW 15" DOWN | 1510
EM-ED102C8 | PLEN HTR HCII EH-D10-8 10KW 18" DOWN | 1510
EM-ED153C5 | PLEN HTR HCII EH-D15-5 15KW 15" DOWN | 1795
EM-ED153C8 | PLEN HTR HCII EH-D15-8 15KW 18" DOWN | 1795
EM-ED204C5 | PLEN HTR HCII EH-D20-5 20KW 15" DOWN | 1985
EM-ED204C8 | PLEN HTR HCII EH-D20-8 20KW 18" DOWN | 1985
EM-EU102C5 | PLEN HTR HCII EH-U10-5 10KW 15" UP | 1440
EM-EU102C8 | PLEN HTR HCII EH-U10-8 10KW 18" UP | 1440
EM-EU153C5 | PLEN HTR HCII EH-U15-5 15KW 15" UP | 1725
EM-EU153C8 | PLEN HTR HCII EH-U15-8 15KW 18" UP | 1725
EM-EU204C5 | PLEN HTR HCII EH-U20-5 20KW 15" UP | 1915
EM-EU204C8 | PLEN HTR HCII EH-U20-8 20KW 18" UP | 1915
EM-EU255C8 | PLEN HTR HCII EH-U25-8 25KW 18" UP | 2300
EM-LS-NC | LOAD SHED NC 2A 24V INPUT | 280
EM-MB00-120-1-06 | MUA PKG 150CFM 0KW 120V 1PH 6IN | 1250
EM-MB01-120-1-06 | MUA PKG 150CFM 1KW 120V 1PH 6IN EM-MA01 | 1410
EM-MB02-120-1-06 | MUA PKG 150 1.6KW 120V 1PH 6IN EM-MA02 | 1435
EM-MC00-240-1-08 | MUA PKG 350CFM 0KW 240/208V 1PH 8IN | 2735
EM-MC05-208-3-08 | MUA PKG 350CFM 4.8KW 208V 3PH 8IN | 3205
EM-MC05-240-1-08 | MUA PKG 350 5KW 240/208V 1PH 8IN EM-MA05 | 2830
EM-MD00-240-1-10 | MUA PKG 600CFM 0KW 240/208V 1PH 10IN | 3015
EM-MD05-208-3-10 | MUA PKG 600CFM 4.8KW 208V 3PH 10IN | 3585
EM-MD05-240-1-10 | MUA PKG 600CFM 5KW 240/208V 1PH 10IN | 3110
EM-MD10-208-3-10 | MUA PKG 600CFM 9.6KW 208V 3PH 10IN | 3680
EM-MD10-240-1-10 | MUA PKG 600 10KW 240/208V 1PH 10IN MA10 | 3205
EM-ME00-240-1-14 | MUA PKG 900CFM 0KW 240/208V 1PH 14IN | 3895
EM-ME05-208-3-14 | MUA PKG 900CFM 4.8KW 208V 3PH 14IN | 4620
EM-ME05-240-1-14 | MUA PKG 900CFM 5KW 240/208V 1PH 14IN | 3990
EM-ME10-208-3-14 | MUA PKG 900CFM 9.6KW 208V 3PH 14IN | 4715
EM-ME10-240-1-14 | MUA PKG 900CFM 10KW 240/208V 1PH 14IN | 4085
EM-ME14-208-3-14 | MUA PKG 900 14.4KW 208V 3PH 14IN EM-MA14 | 4810
EM-ME15-240-1-14 | MUA PKG 900CFM 15KW 240/208V 1PH 14IN | 4180
EM-MF00-240-1-14 | MUA PKG 1050CFM 0KW 240/208V 1PH 14IN | 3995
EM-MF05-208-3-14 | MUA PKG 1050CFM 4.8KW 208V 3PH 14IN | 4720
EM-MF05-240-1-14 | MUA PKG 1050CFM 5KW 240/208V 1PH 14IN | 4090
EM-MF10-208-3-14 | MUA PKG 1050CFM 9.6KW 208V 3PH 14IN | 4815
EM-MF10-240-1-14 | MUA PKG 1050CFM 10KW 240/208V 1PH 14IN | 4185
EM-MF14-208-3-14 | MUA PKG 1050CFM 14.4KW 208V 3PH 14IN | 4910
EM-MF15-240-1-14 | MUA PKG 1050 15KW 240/208V 1PH 14IN MA15 | 4280
EM-MG00-240-1-14 | MUA PKG 1200CFM 0KW 240/208V 1PH 14IN | 4205
EM-MG05-240-1-14 | MUA PKG 1200CFM 5KW 240/208V 1PH 14IN | 4300
EM-MG07-208-3-14 | MUA PKG 1200CFM 7.2KW 208V 3PH 14IN | 5200
EM-MG10-240-1-14 | MUA PKG 1200CFM 10KW 240/208V 1PH 14IN | 4395
EM-MG14-208-3-14 | MUA PKG 1200CFM 14.4KW 208V 3PH 14IN | 5295
EM-MG15-240-1-14 | MUA PKG 1200CFM 15KW 240/208V 1PH 14IN | 4490
EM-MG20-240-1-14 | MUA PKG 1200 20KW 240/208V 1PH 14IN MA20 | 4585
EM-MG22-208-3-14 | MUA PKG 1200 21.6KW 208V 3PH 14IN MA22 | 5390
EM-MH00-240-1-14 | MUA PKG 1600CFM 0KW 240/208V 1PH 14IN | 4515
EM-MH05-240-1-14 | MUA PKG 1600CFM 5KW 240/208V 1PH 14IN | 4610
EM-MH07-208-3-14 | MUA PKG 1600CFM 7.2KW 208V 3PH 14IN | 5510
EM-MH10-240-1-14 | MUA PKG 1600CFM 10KW 240/208V 1PH 14IN | 4705
EM-MH14-208-3-14 | MUA PKG 1600CFM 14.4KW 208V 3PH 14IN | 5605
EM-MH15-240-1-14 | MUA PKG 1600CFM 15KW 240/208V 1PH 14IN | 4800
EM-MH20-240-1-14 | MUA PKG 1600CFM 20KW 240/208V 1PH 14IN | 4895
EM-MH22-208-3-14 | MUA PKG 1600CFM 21.6KW 208V 3PH 14IN | 5700
EM-MI00-240-1-14 | MUA PKG 2000CFM 0KW 240/208V 1PH 14IN | 4615
EM-MI05-240-1-14 | MUA PKG 2000CFM 5KW 240/208V 1PH 14IN | 4710
EM-MI07-208-3-14 | MUA PKG 2000CFM 7.2KW 208V 3PH 14IN | 5610
EM-MI10-240-1-14 | MUA PKG 2000CFM 10KW 240/208V 1PH 14IN | 4805
EM-MI14-208-3-14 | MUA PKG 2000CFM 14.4KW 208V 3PH 14IN | 5705
EM-MI15-240-1-14 | MUA PKG 2000CFM 15KW 240/208V 1PH 14IN | 4900
EM-MI20-240-1-14 | MUA PKG 2000CFM 20KW 240/208V 1PH 14IN | 4995
EM-MI22-208-3-14 | MUA PKG 2000CFM 21.6KW 208V 3PH 14IN | 5800
EM-WC0515H | COMFORT MOD WF 4.8KW 8X10 | 710
EM-WC0515L | COMFORT MOD WF 4.8KW 8X16 | 720
EM-WC1025H | COMFORT MOD WF 9.6KW 8X10 | 910
EM-WC1025L | COMFORT MOD WF 9.6KW 8X16 | 920
EM-WD102D5-SL2 | PLENUM HTR SL2 DOWN 10 KW 15IN | 2350
EM-WD102D8-SL2 | PLENUM HTR SL2 DOWN 10 KW 18IN | 2350
EM-WD102S5-SL1 | PLENUM HTR SL1 DOWN 10 KW 15IN | 2020
EM-WD102S8-SL1 | PLENUM HTR SL1 DOWN 10 KW 18IN | 2020
EM-WD153D5-SL2 | PLENUM HTR SL2 DOWN 15 KW 15IN | 2670
EM-WD153D8-SL2 | PLENUM HTR SL2 DOWN 15 KW 18IN | 2670
EM-WD153S5-SL1 | PLENUM HTR SL1 DOWN 15 KW 15IN | 2340
EM-WD153S8-SL1 | PLENUM HTR SL1 DOWN 15 KW 18IN | 2340
EM-WD204D5-SL2 | PLENUM HTR SL2 DOWN 20 KW 15IN | 2870
EM-WD204D8-SL2 | PLENUM HTR SL2 DOWN 20 KW 18IN | 2870
EM-WD204S5-SL1 | PLENUM HTR SL1 DOWN 20 KW 15IN | 2540
EM-WD204S8-SL1 | PLENUM HTR SL1 DOWN 20 KW 18IN | 2540
EM-WD254D8-SL2 | PLENUM HTR SL2 DOWN 25 KW 18IN | 3255
EM-WD254S8-SL1 | PLENUM HTR SL1 DOWN 25 KW 18IN | 2925
EM-WE1025C | STRIP WF PLENUM 9.6KW 16X16X15H | 1350
EM-WE1025H | STRIP HTR WF 9.6KW 8X10 | 1140
EM-WE1025L | STRIP HTR WF 9.6KW 8X16 | 1150
EM-WE1535C | STRIP WF PLENUM 14.4KW 16X16X15H | 1490
EM-WE1535H | STRIP HTR WF 14.4KW 8X10 | 1280
EM-WE1535L | STRIP HTR WF 14.4KW 8X16 | 1290
EM-WE2035C | STRIP WF PLENUM 19.2KW 16X16X15H | 1630
EM-WE2035H | STRIP HTR WF 19.2KW 8X10 | 1420
EM-WE2035L | STRIP HTR WF 19.2KW 8X16 | 1430
EM-WM1134H | MAKE-UP AIR 3PH 208 10.8KW 8X10 | 1455
EM-WM1535L | MAKE-UP AIR HTR WF 14.4KW 8X16 | 1560
EM-WM1536L | MAKE-UP AIR 3PH 208 15KW 8X16 | 1620
EM-WM2035L | MAKE-UP AIR HTR WF 20KW 8X16 | 1725
EM-WU102D5-SL2 | PLENUM HTR SL2 UP 10 KW 15IN | 2270
EM-WU102D8-SL2 | PLENUM HTR SL2 UP 10 KW 18IN | 2270
EM-WU102S5-SL1 | PLENUM HTR SL1 UP 10 KW 15IN | 1950
EM-WU102S8-SL1 | PLENUM HTR SL1 UP 10 KW 18IN | 1950
EM-WU153D5-SL2 | PLENUM HTR SL2 UP 15 KW 15IN | 2590
EM-WU153D8-SL2 | PLENUM HTR SL2 UP 15 KW 18IN | 2590
EM-WU153S5-SL1 | PLENUM HTR SL1 UP 15 KW 15IN | 2270
EM-WU153S8-SL1 | PLENUM HTR SL1 UP 15 KW 18IN | 2270
EM-WU204D5-SL2 | PLENUM HTR SL2 UP 20 KW 15IN | 2790
EM-WU204D8-SL2 | PLENUM HTR SL2 UP 20 KW 18IN | 2790
EM-WU204S5-SL1 | PLENUM HTR SL1 UP 20 KW 15IN | 2470
EM-WU204S8-SL1 | PLENUM HTR SL1 UP 20 KW 18IN | 2470
EM-WU254D8-SL2 | PLENUM HTR SL2 UP 25 KW 18IN | 3175
EM-WU254S8-SL1 | PLENUM HTR SL1 UP 25 KW 18IN | 2855
EM-WX01-120-1-06 | BOOST HTR WF 1KW 120V 1PH 6" DIA | 775
EM-WX02-240-1-08 | BOOST HTR WF 2.5KW 240V 1PH 8" DIA | 885
EM-WX05-240-1-08 | BOOST HTR WF 5KW 240V 1PH 8" DIA | 1035
EM-WX10-240-1-10 | BOOST HTR WF 10KW 240V 1PH 10" DIA | 1205
ET-SOFT-HTG | PC HTG PROD TEST/SETUP USB KIT | 220
EZB-E1-05-240-1 | BOILER EDGE 1Z 5KW 240/208V 1PH | 4465
EZB-E1-07-240-1 | BOILER EDGE 1Z 7KW 240/208V 1PH | 4565
EZB-E1-10-240-1 | BOILER EDGE 1Z 10KW 240/208V 1PH | 4650
EZB-E1-12-240-1 | BOILER EDGE 1Z 11.5KW 240/208V 1PH | 4850
EZB-E1-15-240-1 | BOILER EDGE 1Z 15KW 240/208V 1PH | 4975
EZB-E1-17-240-1 | BOILER EDGE 1Z 17.5KW 240/208V 1PH | 5150
EZB-E1-20-240-1 | BOILER EDGE 1Z 20KW 240/208V 1PH | 5255
EZB-E4-05-240-1 | BOILER EDGE 4Z 5KW 240/208V 1PH | 4820
EZB-E4-07-240-1 | BOILER EDGE 4Z 7KW 240/208V 1PH | 4920
EZB-E4-10-240-1 | BOILER EDGE 4Z 10KW 240/208V 1PH | 5005
EZB-E4-12-240-1 | BOILER EDGE 4Z 11.5KW 240/208V 1PH | 5205
EZB-E4-15-240-1 | BOILER EDGE 4Z 15KW 240/208V 1PH | 5330
EZB-E4-17-240-1 | BOILER EDGE 4Z 17.5KW 240/208V 1PH | 5505
EZB-E4-20-240-1 | BOILER EDGE 4Z 20KW 240/208V 1PH | 5610
EZB-PF100 | KIT PURGE & FILL VALVE 1 IN | 635
EZB-T1-05-240-1 | BOILER ECO 1Z 5KW 240/208V 1PH | 3820
EZB-T1-07-240-1 | BOILER ECO 1Z 7KW 240/208V 1PH | 3920
EZB-T1-10-240-1 | BOILER ECO 1Z 10KW 240/208V 1PH | 4005
EZB-T1-12-240-1 | BOILER ECO 1Z 11.5KW 240/208V 1PH | 4205
EZB-T1-15-240-1 | BOILER ECO 1Z 15KW 240/208V 1PH | 4330
EZB-T1-17-240-1 | BOILER ECO 1Z 17.5KW 240/208V 1PH | 4505
EZB-T1-20-240-1 | BOILER ECO 1Z 20KW 240/208V 1PH | 4610
NC-FE-036-1-CPXX1-10-US | NA AIR/W IDU 36K BTU 1PH CU PUMP 10KW | 10485
NC-FE-036-1-CPXX1-XX-US | NA AIR/W IDU 36K BTU 1PH CU PUMP | 9445
NC-FE-048-1-CPXX1-10-US | NA AIR/W IDU 48K BTU 1PH CU PUMP 10KW | 10765
NC-FE-048-1-CPXX1-15-US | NA AIR/W IDU 48K BTU 1PH CU PUMP 15KW | 11160
NC-FE-048-1-CPXX1-XX-US | NA AIR/W IDU 48K BTU 1PH CU PUMP | 9725
NC-FE-060-1-CPXX1-15-US | NA AIR/W IDU 60K BTU 1PH CU PUMP 15KW | 11440
NC-FE-060-1-CPXX1-20-US | NA AIR/W IDU 60K BTU 1PH CU PUMP 20KW | 11735
NC-FE-060-1-CPXX1-XX-US | NA AIR/W IDU 60K BTU 1PH CU PUMP | 10005
SOT-1 | SOT OPTION W/RELAY 40-80 MIN | 255
WF-ANZ7 | WARMFLO ANALYZER EB & WF 07 | 420
WF-DFHP1 | HP CNTR HP/GAS INTERFACE 4 STAT OT/ST | 630
WF-DHEMK | WF+ KIT CONV OLD EM 20KW MAX | 1160
WF-DHKIT | WF+ KIT CONV BRAND X 1 STG 20KW MAX | 1160
WF-DHKIT2 | WF+ KIT CONV BRAND X 2 STG 20KW MAX | 1265
WX-F110 | FILTER ENCLOSURE 10" COLLAR | 430
WX-F16 | FILTER ENCLOSURE 6" COLLAR | 265
WX-F18 | FILTER ENCLOSURE 8" COLLAR | 395